|  | Job Safety Analysis |
| --- | --- |

| Control No: |  | Status: |  | Original Date: |  |
| --- | --- | --- | --- | --- | --- |
| Last Date Closed: |  |

Organization:

| JSA Type: |  |
| --- | --- |
| Work Type: | Confined Space Entry |
| Work Activity: | Confined Space Entry |
| Specific Site: |  |

| Personal Protective Equipment (PPE) | Selected | Comments |
| --- | --- | --- |
| Hard Hat | Y |  |
| Lifeline/Body Harness | Y |  |
| Air Purifying Respirator | Y |  |
| Supplied Air Respirator - SCBA | Y |  |
| Supplied Respirator | Y |  |
| Gloves | Y |  |
| Safety Footwear | Y |  |
| Proper PPE per your Refinery Guidelines | Y |  |
| Personal Gas Monitor | Y | Based on results of Hazard Assessment |
| Other | Y | Coveralls appropriate to job |

Reviewers

| Reviewers Name | Position | Date Approved |
| --- | --- | --- |

Development Team

| Development Team Member Name | Primary Contact | Position |
| --- | --- | --- |

Job Steps

| No | Job Steps | Potential Hazard | Critical Actions |
| --- | --- | --- | --- |
| 1 | Identify need to conduct confined space entry during job planning. | 1. Lack of hazard awareness of the specific confined space leading to injury or fatality. 2. Loss of time, potential injury or fatality if wrong location is identified, assessed or entered. | NOTE: For specific details always refer to the relevant SAFE WORK PRACTICESStandard. 1. Ensure description of work identifies the specific type of confined space: pit, tank, excavation, pipe, tunnel, etc. and that competent personnel conduct the hazard assessment. 2. Confirm the entry/work location, and communicate work intentions to appropriate personnel. |
| 2 | Prepare Work Permit and Confined Space Entry Form. NOTE: Other forms may be needed depending on type and location of confined space. | 1. Potential confined space hazards not identified may cause injury or incident. | 1. Follow the Confined Space Entry SAFE WORK PRACTICESStandard instructions. |
| 3 | Conduct job site and equipment preparation. NOTE: separate JLA(s) may be required to address specific job site or equipment preparation tasks within this step. | 1. Hazardous energy sources affecting confined space not properly identified or positively isolated. 2. Unauthorized access of personnel to work area leading to injury. 3. Evacuation routes not identified leading to workers confusion in an emergency. 4. Previous contents of confined space not evaluated for hazards leading to injury. 5. Equipment with internal combustion engines in close proximity to the confined space may cause accumulation of carbon monoxide (CO) inside the space or create a source of ignition for flammable vapors venting from the confined space. 6. Gas detector not calibrated, not properly maintained (faulty sensors, battery not fully charged, etc.) or not fitted with sensors for the suspected leading to erroneous readings. 7. Competent personnel not identified or not available leading to poor decision quality. 8. Improper access to entry and exit point openings leading to injury. 9. Toxic or flammable vapors released by disturbing sludge product inside tanks leading to fire, injury or fatality. 10. Slips, trips and falls due to poor housekeeping leading to injury. 11. Delay in work beginning due to a lack of or incorrect work permit documentation for the job. 12. Inadequate ventilation and/or cooling which could result in a build up of hazardous vapors and/or heat resulting in suffocation, poisoning and/or heat stress. | 1a. Include competent persons in JLA development to ensure identification of all sources of hazardous energy. 1b. Identify and isolate sources of hazardous energy. Review and implement controls of GD Shared – SAFE WORK PRACTICESBaseline JLA for Isolation of Hazardous Energy. 2. Place barricades and signs to restrict access to work site. 3a. Identify evacuation routes during site assessment and include in JLA. 3b. Develop contingency and emergency rescue plans. Include the following in the Rescue Plan: Procedures for reporting emergencies Emergency escape routes Rescue equipment required The designated emergency assembly area Rescue and first aid procedures and duties 4. Review existing information about the previous contents, including material safety data sheets (MSDS) and other relevant information. If sufficient information does not exist, get help from the appropriate subject matter experts. 5. Locate equipment with internal combustion engines at least 50 feet (15 meters) away from entry openings and ensure their exhausts are directed away from entry points. 6. Review gas detector records, including annual calibration record sheet, monthly calibration sheet and daily field response sheet. Also verify that the correct sensor for the gas being detected is installed in the monitor. 7. Review personnel training records to verify that they have the competencies to perform their roles (e.g. Gas Testers, Entry Watch, Fire Watch, Entrants, Rescue Workers, excavation competent person, etc.). 8a. Provide secured ladders or stairs to elevated entry/egress points to verify that proper fall protection controls are in place. 8b. Evaluate the size and shape of the entry opening and potential obstacles at entry point. Review drawings of the space, if available, to select best location for entry to avoid awkward entry and obstacles. 8c. Designate a standby person assist with safe entry and egress of work crew. 9. Review MSDSs to identify precautions and appropriate PPE. Perform continuous gas monitoring while sludge is present in the space. 10. Review housekeeping and correct deficiencies. 11. Plan the work with competent personnel and the appropriate subject matter experts (SMEs) to prepare the correct documentation per the schedule. Examples of documentation include work permits with the required gas testing readings, signatures, and hazard mitigation and PPE requirements. 12. Provide adequate ventilation and cooling equipment (if necessary). Verify that the equipment is functioning as intended. |
| 4 | Gas test the work site and/or equipment. NOTE: separate JLA(s) and permits may be required to address specific job tasks within this step. | 1. Gas Tester not qualified to test the atmosphere and interpret the readings leading to incorrect readings that may cause injury or fire. 2. Readings taken at confined space opening may not be representative of the internal atmosphere of the confined space. 3. Failure to test for specific toxic or flammable gases and vapors may cause injury or fatality. 4. Failure to conduct follow-up or continuous gas tests (as appropriate) could result in injury or fatality. 5. Not wearing the required PPE or wearing the incorrect PPE could result in injury or fatality. 6. Undetected hazardous gases due to malfunctioning of gas detection equipment may cause injury or fire. | NOTE: Refer to the Gas Testing with LFL Gas Detection Equipment SAFE WORK PRACTICESBaseline JLA. 1. Verify that the Gas Tester is qualified to perform the testing. 2a. Gas test initially at the opening of the confined space after the ventilation has been turned off for a minimum of 15 minutes. If the readings indicate that it is safe to do so, test further inside the confined space before allowing work to start. Note: A separate permit and Confined Space Entry form is required if the Gas Tester needs to enter and test inside the confined space. 2b. Entry Watch must be present for all confined space entries. 3. Conduct gas testing for oxygen (O2), toxic and flammable gases and vapors and record the results on the permit along with date, time and Gas Tester’s signature. 4. Implement continuous or periodic gas testing (as specified in the permit) to verify that the confined space atmosphere remains safe for entry. Record gas testing results on the permit or applicable form (example: if entrants are out of confined space for more than one hour). 5. Identify the correct PPE and require that personnel wear it before they enter into the confined space. Note: When the Gas Tester must enter into the confined space to conduct internal gas tests, the PPE must be specified on the permit and the Gas Tester must put it on prior to entering the confined space. PPE may include supplied air respirator, coveralls, rubber boots and personal monitor. 6. Confirm that the gas testing equipment is calibrated and bump tested. |
| 5 | Position dedicated Entry Watch personnel at the confined space. | 1. Entry Watch does not recognize hazards and react appropriately. 2. Entry Watch could be overcome by gases or vapors originating from work in confined space leading to injury or fatality. 3. Other unit/equipment may be or become a source of flammable or combustible material which may cause personal injury or fire. | 1a. Verify that the Entry Watch is competent for the task. 1b. Provide the Entry Watch with a communication device to raise the alarm if there is an emergency. 2. Ensure Entry Watch is up wind from any potential gas or vapor hazard and is wearing the appropriate PPE. 3. Monitor the Entrants and their work and look for potential hazards arising from and to nearby operations/work. Confirm that the Entry Watch has the knowledge and ability to contact operations personnel. |
| 6 | Enter the confined space and begin work. | 1. Entrants unaware of the hazards, not wearing the correct personal protective equipment (PPE) or not following JLAs, procedures, standards or instructions for work tasks being performed could result in injury or fatality. 2. Personnel unaware of emergency procedures could result in injury or fatality (e.g. communication between entry-watch and entrants unclear or does not occur). 3. Constricted entry points could result in injury. 4. Inadequate lighting in a confined space can make it difficult to see and could result in injury or fatality. 5. Temperatures inside the confined spaces can become hot due to the weather conditions or due to the work occurring inside the space and may result in heat-related injury or fatality. 6. Personal injury or fatality due to unauthorized entries or entrants not accounted for. 7. Entrants may exit from an un-monitored egress point that would compromise the entry log and could result in inadequate communications of hazards to entrants in the confined space. | 1a. Involve the affected personnel in the pre-job briefing to review the JLA, associated hazards and controls, including PPE requirements. Consult and follow JLAs, procedures, standards and instructions. 1b. Before personnel enter the confined space, the Permit Issuer, the Entry Watch and operating personnel must check the work location/conditions and the controls (including ventilation requirements, if applicable) to validate the permit requirements. 1c. Conduct LPSA before starting work tasks and each time there is a change. 2. Review the Rescue or Emergency Plan and facility emergency procedures (including evacuation routes, rally points and alarms) with personnel. 3. Be aware of surroundings and hazards by looking inside the confined space and planning body position during entry. Pay attention to sharp edges, protrusions, scaffold, etc. 4. Use approved lighting to perform work task. 5a. Verify that personnel maintain adequate hydration and ensure that they take breaks to avoid heat stress. 5b. Use ventilation to cool the confined space or provide the appropriate PPE, such as cooling vests. 6. Establish an Entry Watch and keep an entry log of all entries and exits. 7. Instruct entrants to communicate intentions with all Entry Watches if vessel entry/egress points are different (example: column top entry and column bottom egress). |
| 7 | Work is in progress. | 1. Conditions change during work that may introduce new hazards causing potential injuries or incidents. 2. Inadequate gas testing (proper intervals, continuous testing when required, etc.) may cause injuries or fires. 3. Faulty communication equipment may lead to potential losses. 4. Changes in atmospheric conditions outside the confined space and/or inside the confined space may result in asphyxiation and/or introduction of fuel to an ignition source that may cause a fire/explosion. | 1. Stop work and cancel the work permit if the work scope or condition changes. Review the JLA to identify changes to work conditions and any new hazards. Perform a LPSA. Complete and re-issue the work permit. 2. Ensure that the confined space atmosphere is tested with the frequency specified in the permit. 3. Confirm that communication equipment is working correctly. Fully recharge radio batteries prior to work beginning. 4. Verify that PPE is identified in hazard assessment and that personnel know the Rescue/Emergency Plan. Confirm that the Rescue Personnel are on site and are available to perform a rescue, if needed. |
| 8 | Complete the work and clean up the job site. |  |  |

Recycle Comments

Quality Reviews

Field Verification & Validation