|  | #### Job Safety Analysis |
| --- | --- |

| ID No: |  | Status: |  | Original Date: |  |
| --- | --- | --- | --- | --- | --- |
| Last Review Date: |  |  |  |  |  |

Organization:

| SBU: |  |
| --- | --- |
| BU: |  |
| Work Type: |  |
| Title (Work Activity): | Excavation |
| Site/Region: |  |

| Personal Protective Equipment (PPE) | Selected | Comments |
| --- | --- | --- |
| Safety Shoes | Y |  |
| Hard Hat | Y |  |
| Safety Glasses | Y |  |
| Fire Resistant Clothing | Y |  |
| Hearing Protection | Y | When needed based on equipment in work area |
| Goggles | Y | When needed |
| Gloves | Y |  |
| Safety Cones/Barricades | Y |  |
| Personal Gas Monitor | Y | When working with/near contaminated soil or confined space entry |
| High visibility Vest | Y | When in traffic area or working as spotter |

Reviewers

| Reviewers Name | Position | Date Approved |
| --- | --- | --- |

Development Team

| Development Team Member Name | Primary Contact | Position |
| --- | --- | --- |

Job Steps

| No | Job Steps | Potential Hazard | Critical Actions |
| --- | --- | --- | --- |
| 1 | Pre job planning | 1) Contaminated soil not identified resulting in work stoppage if discovered during excavating. 2) Underground lines and utilities not identified resulting in contact, damage, spill, electrocution. 3) Water table and soil structure not evaluated – risk of work stoppage due to unstable soil or water in excavation. 4) Above ground hazards or encumbrances overhead lines, trees, utility poles, etc. not identified resulting in contact, damage, electrocution. 5) Agency notification/permit for excavation not completed where required (required in some jurisdictions) - NOV. | 1) Review site and/or historical information to evaluate potential for encountering contaminated soil. Have plan when contaminated soil is likely. 2) Contact utility companies to determine if underground utilities are in area of excavation. Review site drawings and conduct area survey with utility locator to identify specific locations of underground lines (Hot Work form may be required when surveying in an electrically classified area). Mark locations on surface. 3) Review/consult geological surveys, have soil type evaluated by a qualified person such as a Soils Engineer, Civil Engineer or similar. Determine type of protection (shoring, sloping, benching, etc.) when excavation will be deeper than 5 feet/1.5m. 4) Review site for above ground hazards and remove, secure or otherwise address before excavating. 5) Potential notice of violation for not making notification or obtaining permit (where required). |
| 2 | Obtain General Work Permit, Excavation Form, and other forms (Confined Space Entry, Hot Work) if required. | 1) Permits/forms not in place – work delayed, hazards not identified/mitigated. 2) Excavating without proper documentation. | 1) Check all permits for accuracy and proper approval. 2) Ensure all documentation is in place. |
| 3 | Pre job meeting with all workers involved supervision and operations. | 1) Workers not aware of job scope, hazards, timelines etc. – increased risk of incident (list specific to job being performed). | 1a) Discuss all aspects of the excavation with all involved. Ensure workers understand risks and mitigations, what work is in scope for permit/form. Ensure selected PPE is worn correctly. 1b) Review all appropriate documents with all workers involved in the excavation. |
| 4 | Locate and prepare area to be excavated. | 1) Wrong area to be excavated – damage to underground utilities, spill, and electrocution. 2) Existing hazards on the surface of area to be excavated – contact with overhead lines, damage to surface equipment/lines, surface items falling into excavation. | 1) Identify correct area to be excavated. 2a) Remove or mitigate any existing hazards that may exist on the surface of the area to be excavated. 2b) Visually ID above ground services/lines in area that may be damaged or create an overhead hazard. |
| 5 | Locate underground services, product lines, electrical conduit and other underground obstructions. NOTE: This may be included in pre-planning step #1. | 1) Damage to underground services, potential spills, potential shock hazards, personal exposure to unidentified hazards and possible business interruption. | 1a) Locate underground services, product lines, electrical conduits, and other obstructions. This could include information from utility companies, existing drawings, operations knowledge and/or radar or radio wave detection. 1b) Review marked locations of underground services/piping and electrical with all workers. 1c) Only dig by hand when carrying out exploration evacuations. |
| 6 | Barricade area to be excavated. | 1) Unauthorized and/or unintentional entrance to excavation – fall into excavation. 2) Potential hazard of both worker and mobile equipment falling in excavation. 3) Traffic may have to be re-routed – create other hazard (identify here). 4) Motor vehicle crashes and injuries to occupants as barriers not visible especially during darkness. 5) Struck by moving vehicle at site. | 1) Completely barricade the entire area to be excavated. 2) Use signage and/or tags to indicate purpose of barricading. 3) Have traffic re-route plan when necessary to safely re-route traffic. 4) Barricades to be clearly lit during darkness with warning lights. 5) Make eye contact with drivers in vehicles to avoid being missed and struck. Wear high visibility vests in traffic areas. Establish walkways for workers to avoid moving vehicles. |
| 7 | Mobilization/set up of excavation equipment to site | 1) MVC (motor vehicle collision) when moving equipment inside the facility striking fixed objects, personnel, other vehicles, or other equipment including overhead lines (electrocution hazard). 2) Excavation equipment in unsafe mechanical operating condition may cause loose object to fall off and damage equipment or personnel, cause a business disruption if equipment needs to be replaced. | 1a) Contractor to ensure pre-evaluation made to determine safest routing of equipment to excavation location, ensure equipment operator is trained and certified to operate equipment used. 1b) Spotter to be used during initial placement or repositioning of equipment. 1c) Ensure minimum safe distance from power lines (list here based on voltage), de-energized where possible during excavation. 2) Excavation equipment to undergo a mechanical inspection to verify it is in safe operating condition, no loose objects. |
| 8 | Excavate with Equipment (backhoe, air powered spade, or similar). | 1) Damage to services and infrastructure not identified in above ground/below ground survey, hydrocarbon release, loss of utilities, electric shock hazard. 2) Possible water accumulation. 3) Excavation area could become a Confined Space. 4) Injury to workers by means of cave-ins, falling loads, and mobile equipment. 5) Contaminated soil discovered. | 1a) Spotter for equipment at excavation. 1b) Shallow or slow digging with toothless bucket. Check for overhead interferences 1c) When underground utilities, lines, and other obstructions can’t be accurately located in pre-planning, dig by hand or use blunt nosed probe while excavating. Do not mechanically dig deeper than safely identified by probing. 1d) When unidentified line, obstruction, concrete (red or otherwise), or similar is contacted, stop work, notify facility, and re-assess hazards. 2) Pump out water when required. 3) When Confined Space (>4 ft/1.3m) follow CSE SWP. NOTE: Entry Watch required if excavation deeper than 35 inches/0.9m or when working with head below top edge of excavation. 4a) Sloping, Benching, Shoring, Shields must comply with CVX requirements and applicable regulations, whichever is more stringent. 4b) Mobile equipment no closer than 3 ft/1m from the edge of the excavation. 4c) All excavated and other loose material placed minimum of 3 ft/1m from edge of excavation. 4c) Ladders in excavation secured and extended 3 ft (1 m) above the edge of the excavation. Provide ladders every 25 ft/7.6m (refer to Excavation SWP for # of ladders based on # of workers). 4d) Workers stay out of line of fire/rotational path of excavator. 5) Stop work and notify facility. Re-evaluate hazards. Contaminated soil must be properly handled and disposed of. |
| 9 | Excavation with hand tools (shovels, blunt nosed bars, not power tools). | 1) Damage to services & infrastructure not identified in below ground survey, hydrocarbon release, loss of utilities, electric shock hazard. 2) Possible water accumulation. 3) Evacuation could become a Confined Space. 4) Injury to workers by means of cave-ins, falling loads, and mobile equipment. 5) Ergo strain. 6) Heat stress. 7) Contaminated soil discovered. | 1a) If unidentified line, obstruction, concrete (red or otherwise), or similar is contacted, stop work, notify facility, and re-assess hazards. 2) Pump water out when necessary. 3) When Confined Space (>4 ft/1.3m) follow CSE SWP. NOTE: Entry Watch required if excavation deeper than 35 inches/0.9m or if working with head below top edge of excavation. 4a) Sloping, Benching, Shoring, Shields must comply with CVX requirements and applicable regulations, whichever is more stringent 4b) Mobile equipment no closer than 3 ft/1m from the edge of the excavation. 4c) Ladders in excavation secured and extended 3 ft (1m) above the edge of the trench. Provide ladders every 25 ft/7.6m (refer to Excavation SWP for # of ladders based on # of workers). 4d) All excavated and other loose material placed minimum of 3 ft/1m from edge of excavation. 5a) Workers to use proper body mechanics when using hand tools in excavation. 5b) Workers to take regular breaks (specify time based on work conditions). 6) Workers to drink fluids, take breaks when working in warmer weather -.frequency based on conditions. Evaluate need to provide shaded break area. 7) Stop work and notify facility. Re-evaluate hazards. Contaminated soil must be properly handled and disposed of and should be segregated from uncontaminated soil. |
| 10 | Gas test when workers or machinery is operating in or near excavation | 1) Toxic gases settling in excavation. 2) Possible personal exposure and/or fire from contaminated soil, released material, possible oxygen deficient atmosphere. | 1a) Qualified/trained gas tester to perform periodic tests in and around excavation. 1b) Atmospheric testing done initially, periodically, or continuously in and around excavation site – specify frequency on permit. 2) Atmospheric testing done initially, periodically, or continuously in and around excavation site – specify frequency on permit. Re-evaluate when contaminated soil discovered after permit issued. |
| 11 | Protect the Environment | 1) High suspended solids in runoff from excavation material. 2) Contaminated soil. | 1) Cover excavated material and ring stockpiles with hay-bails or similar to prevent runoff. 2) Follow proper disposal plan for soil if required to approve CVX site with proper transportation method. |
| 12 | Backfill Excavations | 1) Workers getting trapped by machinery. 2) Water logged backfill will not compact and excavation area surface is uneven. | 1a) Only allow trained and competent workers to operate machinery. 1b) Workers stay out of line of fire/rotational path of excavator. 1c) Safety watch/spotter during backfill (when warranted). 2) Correct selection of backfill material that will properly compact. |
| 13 | Demobilization of excavation equipment from site | 1) MVC when moving equipment inside the facility striking fixed objects, personnel, other vehicles, or other equipment including overhead lines. | 1a) Spotter to be used to ensure equipment does not come in contact with live power lines, fixed objects, or equipment. 1b) Only authorized personnel allowed to be present during the loading of excavator onto its transport vehicle. 1c) Prior to moving, check all securing devises to validate they are secured. |